In-gel alkylation and digestion with
endoproteinase Glu-C (protease V8)

1. Excise the stained protein band from the gel with a scalpel. Cut the gel slice into ca. 11 mm cubes, and put the pieces in an Eppendorf tube.

2. Remove Coomassie stain by rinsing the gel pieces twice in 200 microl 0.2 M NH4HCO3 (Ambic; 0.1 M final conc.)/Acetonitril (ACN) 1:1, for 45 min at 37C.

3. Shrink the gel pieces by adding 100 microl ACN at room temperature (wait until the pieces become white), and then remove ACN. Dry in vacuum centrifuge for 5 min.

4. Rehydrate the gel pieces in 20 mM DTT in 0.1 M Ambic ( 50 microl) for 30 min at 56C.

5. Remove excess liquid (but do not dry in vacuum), and shrink the pieces with ACN as above (step 3). Remove ACN, and add 55 mM iodoacetamide in 0.1 M Ambic ( 50 microl) for 15 min at room temperature in the dark.

6. Remove excess liquid, and wash the pieces once with 0.1 M Ambic. Remove Ambic and shrink the pieces with ACN. Remove ACN, wash with H2O and shrink again with ACN. Remove ACN and dry in vacuum centrifuge for 5 min.

7. Add Glu-C solution (in 25 mM Ambic pH 7.8 and 5 ACN). Allow to absorb for 10 min at room temperature. Then add solution of 25 mM Ambic, pH 7.8 and 5 ACN to completely cover the gel pieces. Incubate overnight at 25 or 37C in the dark (see the comments!).

8. Collect the liquid into Eppendorf tube. Extract the peptides from the gel pieces twice with 150 microl of 0.1 trifluoroacetic acid (TFA)/60 ACN (in water) for 30 min at 25 or 37C. Collect the liquid in the same eppendorf tube as previously. Dry down the collected solution to 30 microl in vacuum centrifuge, then add 100 microl 0.1 TFA and again dry down to 30 microl. The prep is now ready for HPLC separation or desalting in the microtip.

- 20 mM DTT  3.08 mg DTT/1 ml 0.1 M Ambic;

- 55 mM iodoacetamide  10.2 mg/1 ml 0.1 M Ambic;

- Seq. grade endoproteanase Glu-C, Staphylococcus aureus V8; Roche (Boehringer Mannheim), Germany, 1047817 (50 microg of Glu-C in 100 microl of water: 0.5 microg/microl) or from Sigma, P6181.

- Acetonitril; Rathburn Chemicals Ltd., Walkerburn, Scotland; No. RH 1015, HLPC grade;

- Ammonium bicarbonate (NH4HCO3) (Ambic); Sigma, A-6141, Fw 79.06 g/mol; 25mM solution: 197.65 mg/100 ml water, pH is 7.8 without any adjustment;

- Trifluoroacetic acid; Sigma, T-6508, Fw 114.0 g/mol.

NB! For peptide or protein digestion, a ratio between 1/20 and 1/100 (w/w) of enzyme to substrate is recommended. ’Roche’ suggests to use 25 mM ammonium carbonate buffer, pH 7.8 and in order to avoid autolysis the incubation temperature should not exceed 25C! While according to ’Sigma’ the buffer has to be 100 mM of ammonium carbonate, pH 7.8 and the incubation temperature 37C!

2003 06 20 – Julius