Preparation of samples for SDS-PAGE

by precipitation with Trichloroacetic acid (TCA)

and alternative methods

This is a protocol to remove salt and other small molecular weight compounds that might interfere with SDS-PAGE.

1. Proteins in solution at 1-5 mg/ml in any bffer free from polymers and detergents can be used. Cool on ice/water mixture. Add 1 volume of pre-cooled 20 trichloroacetic acid (TCA) to the extract and allow the proteins to precipitate on ice for 30 min.

2. Spin the sample at 20 000 g for 30 min in a table centrifuge at +4 C.

3. Remove liquid and wash pellet with pre-cooled (-20C) acetone to remove residual TCA: incubate on ice for 10 min, spin at 20 000 g for 10 min, remove acetone.

Repeat the washing once again. Remove residual acetone by air drying. Resuspend the sample in 20-30 l of SDS-PAGE sample buffer (with -mercaptoethanol), heat at +95 C for 1-2 min, and spin for several seconds in a table centrifuge. The sample is ready for the SDS-PAGE.

Alternatively:

- Precipitate the sample with 9 volumes of acetone overnight at -20 C. Remove liquid and do not dry the pellet too much! otherwise it will be impossible to resolubilize the proteins. This method is better then precipitation with TCA!!!

- Precipitate with 9 volumes of cold 95 EtOH for 2 hr at -20 C, and remove liquid. This method is worse than precipitation with TCA!!!

2003 08 15 – Ove, Oliver & Julius